Redefining our goal:

Annie:

- Overall Goal: Build a working prototype of an improved version of a low-cost ventilator

- Personal Goals: Contribute to an important project and see if we can get more traction to actually implement, Learn more about what goes into building a medical device that is functional in a hospital setting

Jacob:

- Overall: Help improve the current projects out there in order to aide corona-virus efforts

- Personal: Help others learn any new skills they are interested in learning :)

  - And to have a working device/prototype to be able to talk about in interviews or smt

Natasha

- Overall: Make modifications to develop a better working prototype of the ventilator splitter than what is currently offered

- Personal Goals: Apply the skills that I have in order to help others in a short amount of time and be able to help prototype a medical device.

Hannah:

- Overall Goal: Help build a low-cost ventilator that can potentially be used to help people

- Personal Goal: Learn more about how to make a medical device and be able to gain new skills that I don’t currently have (particularly the more mechanical engineering side of medical devices)

Questions we don’t know the answer to:

- General: how can we measure pressure in a ventilator tube using a barometric pressure sensor?

- What’s the best way to measure pressure in this situation?

- What kind of pressure sensor should we use?

- Can we use a pitot tube to do this? If so, how do we measure static and dynamic pressure?

Action Items:

- What is the desired accuracy for pressure measurements in a medical device?

Notes:

- Can we use a flow sensor and convert to pressure?

  - The pressure drop across the meter is proportional to the square of the flow rate (i.e., the square root of the pressure differential).

- https://e-vent.mit.edu/controls/electrical-hardware/

- How to solve for pressure using the bernoulli equation

  - https://demonstrations.wolfram.com/MeasuringFlowRatesWithAPitotTube/

- Pitot Tube video https://www.youtube.com/watch?v=AMNXdiSd01c

- Static Pressure - measure before air flow then calibrate

- http://rc.rcjournal.com/content/respcare/early/2014/10/21/respcare.03410.full.pdf

- https://www.freecodecamp.org/news/programming-the-electronics-for-covid-19-ventilators/

- https://www.ni.com/en-us/innovations/white-papers/11/pressure-measurement-overview.html#section--1536767137

https://accessanesthesiology.mhmedical.com/content.aspx?bookid=520&sectionid=41692239

Additional Information on the physiology of respiration (could help us determine the difference in pressure we want to detect)

- https://opentextbc.ca/anatomyandphysiology/chapter/22-3-the-process-of-breathing/

https://www.kumc.edu/AMA-MSS/Study/phys3.htm

- Inspiration: Pleural pressure changes from about -5 to -8 cm H2O, varies by compliance fo the lung

- Expiration: if forced, the pleural pressure can actually become positive, otherwise normal respiration is just the relaxation of the diaphragm.

- TOTAL DeltaPRESSURE = (PATM - PALV) + (PALV - PPLU) = DeltaPFLOW + DeltaPTRANSPULM

  - (PATM - PALV) = TRANSAIRFLOW PRESSURE: The pressure difference between the atmosphere and alveoli determines airflow.

    - DeltaP = (PATM - PALV) = (Airflow) x (Resistance)

    - The higher the flow, the higher the pressure; the higher the resistance for an equivalent flow, the higher the pressure required to overcome that resistance.

Applying this to ventilated patients: http://rc.rcjournal.com/content/59/11/1773